Section 180.310  Decennial Inspections

Each school board subject to this Part shall have its school buildings surveyed in conformance with Section 2-3.12 of the School Code.  No less often than every ten years, each school board subject to this Part shall have its school buildings surveyed by a licensed design professional in conformance with the provisions of Section 2-3.12 of the School Code.

a)	In the course of his or her on-site inspections, the architect or engineer shall check the accuracy of the safety reference plans, verify the information shown on the facility inventory records, and make such corrections as are necessary.

b)	The design professional conducting the survey shall prepare a safety survey report conforming to the requirements of Section 2-3.12 of the School Code and including the materials specified in Section 180.320 of this Part.

(Source:  Amended at 29 Ill. Reg. 15904, effective October 3, 2005)