Section 365.740  Operation and Maintenance of the Project

In order for the Agency to approve the final inspection for the project, the loan recipient must certify that it has provided the following training and operation and maintenance documents:

a)	Training pertaining to the proper operation and maintenance of the equipment and process units included in the project.

b)	An operation and maintenance reference library that includes, but is not limited to, the following:

1)	Manufacturer's literature, shop drawings and warranties;

2)	The plans of record with valve indices for the equipment and process units included in the project.  For mechanical wastewater treatment plants, the valve index shall include a listing of valve positions for each possible alternate flow configuration including by-passing of individual treatment processes and units and recommended configurations for emergency conditions that could reasonably be expected to occur; and

3)	A maintenance schedule for the equipment and process units included in the project.

c)	Training pertaining to the general operation of treatment plants or collection systems consisting of an operator self-study course such as "Operation of Wastewater Treatment Plant", 1980, 2nd edition (three volumes) or "Operation and Maintenance of Wastewater Collection System", 1983, 1st edition, California State University, Sacramento.

(Source:  Amended at 30 Ill. Reg. 15590, effective September 18, 2006)