Section 374.205  Influent Pumping

In the STEP systems, pump well influent piping should enter at the bottom of the well to prevent cascading of septic effluent in order to minimize both odor and corrosion.