Section 602.101  Purpose

The purpose of this Part is to establish minimum standards for the permitting of community water supplies.  The definitions in 35 Ill. Adm. Code 601.105 apply to this Part.

a)	A person must not construct, install, or operate a community water supply without a permit granted by the Agency.  [415 ILCS 5/18(a)(3)]

b)	Owners are required to submit plans and specifications to the Agency and obtain written approval before construction, installation, changes, or additions to a community water supply, except as provided in Section 602.104.  [415 ILCS 5/15(a)]

(Source:  Amended at 47 Ill. Reg. 7449, effective May 16, 2023)