Section 120.11  Incorporation of National Standards

a)	Where standards are incorporated by reference in this Part, the incorporated material does not include any later editions or amendments.

b)	The Board hereby adopts the following nationally recognized standards and addenda:

1)	American Petroleum Institute (API)

1220 L Street, Northwest

Washington DC 20005

API-510, Ninth Edition, June 2006, Pressure Vessel Inspection Code:  Maintenance Inspection, Rating, Repair, and Alteration

2)	American Society of Mechanical Engineers (ASME)

United Engineering Center

Three Park Avenue

New York NY 10017

www.asme.org

A)	ASME Boiler and Pressure Vessel Code, 2013 Edition

| Section I | Rules for Construction of Power Boilers |
| --- | --- |
| Section II | Material Specifications – Part A – Ferrous |
| Section II | Material Specifications – Part B – Nonferrous |
| Section II | Material Specifications – Part C – Welding Rods, Electrodes and Filler Metals |
| Section II | Material Specifications – Part D – Properties (Customary) |
| Section IV | Rules for Construction of Heating Boilers |
| Section V | Nondestructive Examination |
| Section VI | Recommended Rules for the Care and Operation of Heating Boilers |
| Section VII | Recommended Guidelines for the Care of Power Boilers |
| Section VIII | Pressure Vessels – Division 1, Rules for Construction of Pressure Vessels (Including Appendix M) |
| Section VIII | Pressure Vessels – Division 2 – Alternative Rules |
| Section VIII | Pressure Vessels – Division 3 – Alternative Rules for Construction of High Pressure Vessels |
| Section IX | Qualification Standard for Welding and Brazing Procedures, Welders, Brazers, and Welding and Brazing Operators |
| Section X | Fiberglass-Reinforced Plastic Pressure Vessels |

B)	ASME CSD-1 2009 − Controls and Safety Devices for Automatically Fired Boilers

3)	National Board of Boiler and Pressure Vessel Inspectors (NB)

1055 Crupper Avenue

Columbus OH 43229

www.nationalboard.org

National Board Inspection Code (NBIC), 2013 Edition

4)	National Fire Protection Association (NFPA)

1 Batterymarch Park

Quincy MA 02269-9101

www.nfpa.org

| NFPA 85 | Boiler and Combustion Systems Hazards Code, 2011 Edition |
| --- | --- |

(Source:  Amended at 38 Ill. Reg. 18925, effective September 4, 2014)