Section 160.110  Installation of Tanks – Grounding of Tanks

All tanks shall be grounded electrically to permanently moist earth.

(Source:  Amended at 9 Ill. Reg. 10012, effective October 1, 1985)