Section 160.130  Piping – Runs

Piping shall be run as directly as possible and proper allowance made for expansion and contraction.