Section 160.140  Piping – Aboveground

Aboveground piping shall be protected against mechanical injury to the extent reasonably possible.

(Source:  Amended at 9 Ill. Reg. 10012, effective October 1, 1985)