Section 160.170  Piping – Tests

After installation, piping shall be tested at a pressure fifty per cent in excess of the working pressure for thirty minutes and must be proven leak proof.

(Source:  Amended at 9 Ill. Reg. 10012, effective October 1, 1985)