Section 160.180  Piping – Normal Valves

a)	Each pipe attached to a tank shall be provided with a valve at the tank, with no branches nor outlets between the tank and valve.

b)	In case two or more tanks are cross-connected, there shall be a valve at each tank in each cross-connection. Tanks with different classes of liquids shall not be cross-connected.