Section 160.240  Dikes – No Openings Permitted

Embankments or dikes shall be continuous, with no openings for piping or roadway.