Section 160.290  Location of Loading Dock

Truck loading docks and platforms shall be located not less than twenty-five (25) feet from storage tanks, plant buildings and property lines, except installations existing prior to April 14, 1977, which shall be not less than ten (10) feet.

(Source:  Amended at 9 Ill. Reg. 10012, effective October 1, 1985)