Section 160.340  Tank Car Unloading Operations – No Unloading to Portable Containers

Unloading from tank cars to tank trucks or to any other portable container shall not be permitted.