Section 160.400  Protection of Property – Fire Protection

a)	Fire extinguishers of at least 4A:  60 BC rating, foam generators or other agents for extinguishing oil fires shall be provided.

b)	Fire extinguishers shall be installed, inspected, maintained and tested in accordance with the requirements of NFPA #10 (1981).

(Source:  Amended at 9 Ill. Reg. 10012, effective October 1, 1985)