Section 160.490  Fire Extinguishers

Each tank truck or tank wagon shall carry a fire extinguisher suitable for extinguishing gasoline and oil fires, such as carbon dioxide, foam or powder.  Such fire extinguishers shall carry a testing and listing label giving the extinguisher a rating for class A & B fires.

(Source:  Amended at 9 Ill. Reg. 10012, effective October 1, 1985)