Section 175.800  Removal, Abandonment-in-Place or Change-in-Service Records

Owners or operators shall maintain records in accordance with 41 Ill. Adm. Code 176.430 that are capable of demonstrating compliance with removal, abandonment-in-place or change-in-service requirements under all applicable Sections of this Subpart H. The results of the excavation zone or other assessment required in 41 Ill. Adm. Code 176.360 shall be maintained for the time period specified in 41 Ill. Adm. Code 176.330 following completion of a removal, abandonment-in-place or change-in-service in one of the following ways:

a)	By the owners or operators who took the UST out of service;

b)	By the current owners or operators of the UST site; or

c)	By mailing these records to OSFM if they cannot be maintained at the facility where the tank has been removed.

(Source:  Amended at 42 Ill. Reg. 10476, effective October 13, 2018)