Section 176.410  General Requirement to Maintain All Equipment

All equipment and other items shall be maintained in accordance with 41 Ill. Adm. Code 174 through 176 and manufacturer's instructions and otherwise shall be kept in good operating condition at all times.