Section 177.105  Deposit Prohibited

a)	Effect of Green Decal. Beginning December 22, 1998, no person shall deposit or arrange for or allow another person to deposit petroleum, petroleum product, hazardous substances or regulated substances into any UST unless evidence is displayed that the UST is in compliance with 41 Ill. Adm. Code 174, 175 and 176, except as provided in this Part.

b)	Effect of Red Tag. Beginning December 22, 1998, no person shall deposit or arrange for or allow another person to deposit petroleum, petroleum product, hazardous substances or regulated substances into any UST that displays evidence that the UST is not in compliance with the applicable rules of OSFM. A depositor may make one deposit of a regulated substance to a newly installed or newly lined tank to provide ballast, or to conduct tank or line precision testing if approved by OSFM.  That regulated substance shall not be sold or dispensed until the required decal is obtained.

(Source:  Amended at 42 Ill. Reg. 10670, effective October 13, 2018)