Section 177.110  Inspection of UST Facilities

OSFM shall inspect UST facilities for compliance with 41 Ill. Adm. Code 174, 175 and 176 and this Part and issue an evidence of compliance status.