Section 180.60  No Pouring Into Sewers

No liquids of Classes I, II and III, or solutions containing such liquids, shall be poured into any sewer or into any drain which connects with a sewer system.