Section 180.90  Keep Fire Away

Flammable liquids shall always be kept away from fire or open flame; fire or open flame shall always be kept away from flammable liquids.