Section 200.20  Storage and Handling of Liquefied Petroleum Gases at Utility Gas Plants

Requirements for the storage and handling of liquefied petroleum gases at utility gas plants as published in the 2008 Edition of NFPA 59 (Utility LP-Gas Plant Code) are mandatory.

(Source:  Amended at 32 Ill. Reg. 16850, effective October 1, 2008)