Section 200.80  Operation of Installation Prohibited Until Final Inspection and Approval

Any liquefied petroleum gases installation requiring approval by the OSFM shall not be placed in operation until final inspection and approval is given by the OSFM.