Section 200.90  No Supplier Shall Service Any Installation Not In Compliance With Law

No supplier of liquefied petroleum gases shall service any installation not in compliance with the Liquefied Petroleum Gases Law, Rules and Regulations.