Section 200.100  Personnel Must be Properly Trained

Personnel performing installation, service, operation and maintenance work must be properly trained in such work in accordance with the applicable NFPA Standard cited in this Part.  Documentation of training must be made available to the OSFM upon request.

(Source:  Amended at 30 Ill. Reg. 9325, effective May 2, 2006)