Section 200.110  No Self Service Permitted

No person other than the bulk storage, container charging plant, or service station owner or a fully trained authorized employee shall use or dispense any liquefied petroleum gases at these locations.