Section 251.25  Incorporations by Reference

a)	The following NFPA standards are hereby incorporated by reference:

National Fire Protection Association, 1 Batterymarch Park, Quincy MA 029169-7471 (617)770-3000.

NFPA 10:	Standard for Portable Fire Extinguishers (2007).

NFPA 11:	Low-, Medium-, and High-Expansion Foam (2005).

NFPA 12:	Carbon Dioxide Extinguishing Systems (2008).

NFPA 12A:	Halon 1301 Fire Extinguishing Systems (2004).

NFPA 17:	Dry Chemical Extinguishing Systems (2002).

NFPA 17A:	Wet Chemical Extinguishing Systems (2002).

NFPA 72:	National Fire Alarm Code (2007).

NFPA 96:	Ventilation Control and Fire Protection of Commercial Cooking Operations (2008).

NFPA 750:	Water Mist Fire Protection Systems (2006).

NFPA 2001:	Clean Agent Fire Extinguishing Systems (2008).

b)	All materials incorporated by reference in this Section are incorporated as of the date specified and include no later editions or amendments.