Section 251.60  Tamper Seals

The tamper seal must correspond with the color of the certification tag.  The tamper seal shall be removed during maintenance and a new tamper seal installed upon completion of maintenance.