Section 251.25  Incorporations by Reference

a)	The following NFPA standards are hereby incorporated by reference:

National Fire Protection Association, 1 Batterymarch Park, Quincy MA  02169-7471 (617)770-3000.

NFPA 10:	Standard for Portable Fire Extinguishers (2022).

NFPA 11:	Standard for Low-, Medium-, and High-Expansion Foam (2021).

NFPA 12:	Standard on Carbon Dioxide Extinguishing Systems (2022).

NFPA 12A:	Standard on Halon 1301 Fire Extinguishing Systems (2022).

NFPA 17:	Standard for Dry Chemical Extinguishing Systems (2021).

NFPA 17A:	Standard for Wet Chemical Extinguishing Systems (2021).

NFPA 72:	National Fire Alarm and Signaling Code (2022).

NFPA 75:	Standard for the Protection of Information and Technology Equipment (2020).

NFPA 96:	Standard for Ventilation Control and Fire Protection of Commercial Cooking Operations (2021).

NFPA 750:	Standard on Water Mist Fire Protection Systems (2019).

NFPA 770:	Standard on Hybrid (Water and Inert Gas) Fire-Extinguishing Systems (2021).

NFPA 2001:	Standard on Clean Agent Fire Extinguishing Systems (2022).

NFPA 2010:	Standard on Fixed Aerosol Fire-Extinguishing Systems (2020).

b)	All materials incorporated by reference in this Section are incorporated as of the date specified and include no later editions or amendments.

c)	A home rule unit may not regulate the service of fire equipment in a manner less restrictive than the regulation by the State on the service of fire equipment under the Act. [225 ILCS 217/14]

(Source:  Amended at 47 Ill. Reg. 16058, effective October 26, 2023)