Section 280.15  Incorporations by Reference

a)	All incorporations by reference in this Section are incorporated as of the date specified and contain no later editions or amendments.

b)	The following national standards and regulations are incorporated by reference in this Part:

National Fire Protection Association

1 Batterymarch Park

Quincy MA 02169-7471

www:nfpa.org

NFPA 10:	Portable Fire Extinguishers (2007)

NFPA 11:	Low-, Medium-, and High-Expansion Foam (2005)

NFPA 12:	Carbon Dioxide Extinguishing Systems (2008), except Sections 4.7.1 through 4.7.2.4 shall apply only to new or replacement piping and fittings

NFPA 12A:	Halon 1301 Fire Extinguishing Systems (2004), except Sections 4.2.1 through 4.2.3.4 shall apply only to new or replacement piping and fittings

NFPA 17:	Dry Chemical Extinguishing Systems (2002)

NFPA 17A:	Wet Chemical Extinguishing Systems (2002)

NFPA 96:	Ventilation Control and Fire Protection of Commercial Cooking Operations (2008)

NFPA 750:	Water Mist Fire Protection Systems (2006)

NFPA 2001:	Clean Agent Fire Extinguishing Systems (2008)

(Source:  Added at 32 Ill. Reg. 4191, effective March 5, 2008)