Section 280.40  Examinations

a)	Examinations will be developed, provided and administered by Office personnel.  The Office will schedule examinations at sites throughout the State.

b)	The Office will follow the guidelines for testing outlined in 41 Ill. Adm. Code 140.200 when applicable.

c)	Examinations will be developed and derived from 41 Ill. Adm. Code 251, the Act and NFPA 10, 11, 12, 12A, 17, 17A, 96, 750 and 2001, as incorporated by Section 280.15.

d)	After December 31, 2007, examinations will be developed, provided and administered by NAFED.  NAFED will identify the examination dates, time, location and fees.

1)	An individual applying for a Class 1 license must be certified by NAFED as a Portable Fire Extinguisher Technician.

2)	An individual applying for a Class 2 license must be certified by NAFED as a Pre-Engineered Kitchen Fire Suppression System Technician.

3)	An individual applying for a Class 3 license must be certified by NAFED as an Engineered Fire Suppression System Technician.

(Source:  Amended at 32 Ill. Reg. 4191, effective March 5, 2008)