Section 2120.20  Incorporation of National Standards

a)	Where standards are incorporated by reference in this Part, the incorporated material does not include any later editions or amendments.

b)	The Board hereby adopts the following nationally recognized standards and addenda:

1)	American Petroleum Institute (API)

1220 L Street, Northwest

Washington DC  20005

API-510, Eleventh Edition, October 2022, Pressure Vessel Inspection Code:  In-service Inspection, Rating, Repair, and Alteration; with Errata 1 (March 2023)

2)	American Society of Mechanical Engineers (ASME)

United Engineering Center

Three Park Avenue

New York NY  10017

www.asme.org

A)	ASME Boiler and Pressure Vessel Code, 2023 Edition

Section I	Rules for Construction of Power Boilers

Section II	Material Specifications – Part A – Ferrous

Section II	Material Specifications – Part B – Nonferrous

Section II	Material Specifications – Part C – Welding Rods, Electrodes and Filler Metals

Section II 	Material Specifications – Part D – Properties (Customary)

Section IV	Rules for Construction of Heating Boilers

Section V	Nondestructive Examination

Section VI	Recommended Rules for the Care and Operation of Heating Boilers

Section VII	Recommended Guidelines for the Care of Power Boilers

Section VIII	Pressure Vessels – Division 1, Rules for Construction of Pressure Vessels (Including Appendix M)

Section VIII	Pressure Vessels – Division 2 – Alternative Rules

Section VIII	Pressure Vessels – Division 3 – Alternative Rules for Construction of High Pressure Vessels

Section IX	Welding, Brazing and Fusing Qualifications

Section X	Fiberglass-Reinforced Plastic Pressure Vessels

B)	ASME CSD-1 2021 − Controls and Safety Devices for Automatically Fired Boilers

3)	National Board of Boiler and Pressure Vessel Inspectors (NB)

1055 Crupper Avenue

Columbus OH  43229

www.nationalboard.org

National Board Inspection Code (NBIC), 2023 Edition

4)	National Fire Protection Association (NFPA)

1 Batterymarch Park

Quincy MA  02269-9101

www.nfpa.org

NFPA 85	Boiler and Combustion Systems Hazards Code, 2023 Edition

(Source:  Amended at 48 Ill. Reg. 3420, effective February 21, 2024; expedited correction at 48 Ill. Reg. 9121, effective February 21, 2024)