Section 2120.1300  Introduction

The Illinois State Fire Marshal shall authorize as Owners-Users only those firms which meet all the requirements of Section 15 of the Act, and who have a written Quality Control System acceptable to the Chief Inspector.  The applicant shall apply to the Division of Boiler and Pressure Vessel Safety for Owner-User status. After the Chief Inspector has reviewed the applicant's Quality Control System, he will submit a recommendation to the Board of Boiler and Pressure Vessel Rules for their consideration.  Upon review of the Chief Inspector's recommendation, the Board will make a determination for acceptance or rejection of the applicant's status as an Owner-User.   After acceptance as an Owner-User, the Division of Boiler and Pressure Vessel Safety shall provide for an annual audit of the program.  This Subpart is a guide to the features which must be covered in the written description of the Quality Control System Manual.

(Source:  Amended at 17 Ill. Reg. 14917, effective September 1, 1993)