Section 2120.1350  Calibration of Measurement and Test Equipment

The Owner-User Quality Control System shall include provisions for the calibration of examination, measuring, and test equipment used in fulfillment of requirements.

(Source:  Amended at 17 Ill. Reg. 14917, effective September 1, 1993)