Section 2120.APPENDIX A   Operational and Maintenance Log

Section 2120.EXHIBIT A   Hot Water Heating Boilers

|  |  |  |  |  |  |  |  |  |  |  | OFFICE OF THE STATE FIRE MARSHAL DIVISION OF BOILER & PRESSURE VESSEL SAFETY 1035 STEVENSON DRIVE SPRINGFIELD, IL 62703-4259 (217)782-2696 FAX: (217)782-1062 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Operational and Maintenance Log |  |  | Building: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Month: |  |  |  |  |  |  |  |  |  |  |  | Year: |  |  |  |  |  |  |
|  |  | Hot Water Heating Boilers | Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Fuel Type: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Person(s) to be Notified in Emergency (Name and Telephone No.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Illinois No.: |  |  |  |  |  |  |  |  |  |  |  |  |
| CHECKS (Enter Date) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  |  | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |  | 17 |  | 18 | 19 | 20 | 21 | 22 |  | 23 | 24 |  | 25 |  |  | 26 | 27 | 28 | 29 | 30 | 31 |
| (1) Record Pressure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (2) Record Boiler Water Temp. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (3) Record Flue Gas Temp. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CHECKS (Enter Date) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (1) Observe Flame Condition |  |  | WEEK 1 |  |  |  |  |  |  |  |  | WEEK 2 |  |  |  |  |  |  |  |  | WEEK 3 |  |  |  |  |  |  |  |  |  |  | WEEK 4 |  |  |  |  |  |  |  |  |  |
| (2) Observe Circulating Pumps |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CHECKS (Enter Date) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (1) Manual Lift Safety Valve |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (A) Flame Detection Devices |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (F) Refractory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (B) Limit Controls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (G) Stop Valves |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (2) Review Condition of |  |  | (C) Operating Controls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (H) Check Valves |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | or Test Each Item |  | (D) Floor Drains |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (I) Drain Valves |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (E) Fuel Piping |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (J) Linkages |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (3) Observe Gage Glass on Expansion Tank |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (4) Combustion Air Adequate/Unobstructed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| General Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

(Source:  Added at 23 Ill. Reg. 162, effective January 1, 1999)

Section 2120.APPENDIX A   Operational and Maintenance Log

Section 2120.EXHIBIT B   Steam Heating Boilers

OFFICE OF THE STATE FIRE MARSHAL DIVISION OF BOILER & PRESSURE VESSEL SAFETY 1035 STEVENSON DRIVE SPRINGFIELD, IL 62703-4259 (217)782-2696 FAX: (217)782-1062. Operational and Maintenance Log; Building:; Month:; Year:. Steam Heating Boilers; Address:; Fuel Type:. Person(s) to be Notified in Emergency (Name and Telephone No.); Illinois No.:. CHECKS (Enter Date). 1; 2; 3; 4; 5; 6; 7; 8; 9; 10; 11; 12; 13; 14; 15; 16; 17; 18; 19; 20; 21; 22; 23; 24; 25; 26; 27; 28; 29; 30; 31. (1) Observe Water Level. (2) Record Pressure.. (3) Record Flue Gas Temp.. CHECKS (Enter Date). (1) Test Low Water Cutoff; WEEK 1; WEEK 2; WEEK 3; WEEK 4. (2) Test Gage Glass. (3) Observe Flame Condition. CHECKS (Enter Date). (1) Manual Lift Safety Valve. (A) Linkages; (F) Floor Drains. (B) Damper Controls; (G) Flame Detection Device. (2) Review Condition of; (C) Stop Valves; (H) Limit Controls. or Test Each Item; (D) Refractory; (I) Operating Controls. (E) Flue-Chimney Breeching. (3) Inspect Fuel Piping. (4) Combustion Air Adequate/Unobstructed. General Comments:.

(Source:  Added at 23 Ill. Reg. 162, effective January 1, 1999)