Section 2120.APPENDIX A   Operational and Maintenance Log

Section 2120.EXHIBIT A   Hot Water Heating Boilers

|  |  |  |  |  |  |  |  |  |  |  | OFFICE OF THE STATE FIRE MARSHAL DIVISION OF BOILER & PRESSURE VESSEL SAFETY 1035 STEVENSON DRIVE SPRINGFIELD, IL 62703-4259 (217)782-2696 FAX: (217)782-1062 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Operational and Maintenance Log |  |  | Building: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Month: |  |  |  |  |  |  |  |  |  |  |  | Year: |  |  |  |  |  |  |
|  |  | Hot Water Heating Boilers | Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Fuel Type: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Person(s) to be Notified in Emergency (Name and Telephone No.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Illinois No.: |  |  |  |  |  |  |  |  |  |  |  |  |
| CHECKS (Enter Date) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  |  | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |  | 17 |  | 18 | 19 | 20 | 21 | 22 |  | 23 | 24 |  | 25 |  |  | 26 | 27 | 28 | 29 | 30 | 31 |
| (1) Record Pressure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (2) Record Boiler Water Temp. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (3) Record Flue Gas Temp. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CHECKS (Enter Date) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (1) Observe Flame Condition |  |  | WEEK 1 |  |  |  |  |  |  |  |  | WEEK 2 |  |  |  |  |  |  |  |  | WEEK 3 |  |  |  |  |  |  |  |  |  |  | WEEK 4 |  |  |  |  |  |  |  |  |  |
| (2) Observe Circulating Pumps |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CHECKS (Enter Date) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (1) Manual Lift Safety Valve |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (A) Flame Detection Devices |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (F) Refractory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (B) Limit Controls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (G) Stop Valves |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (2) Review Condition of |  |  | (C) Operating Controls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (H) Check Valves |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | or Test Each Item |  | (D) Floor Drains |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (I) Drain Valves |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (E) Fuel Piping |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (J) Linkages |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (3) Observe Gage Glass on Expansion Tank |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (4) Combustion Air Adequate/Unobstructed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| General Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

(Source:  Added at 23 Ill. Reg. 162, effective January 1, 1999)