Section 2120.APPENDIX A   Operational and Maintenance Log

Section 2120.EXHIBIT B   Steam Heating Boilers

OFFICE OF THE STATE FIRE MARSHAL DIVISION OF BOILER & PRESSURE VESSEL SAFETY 1035 STEVENSON DRIVE SPRINGFIELD, IL 62703-4259 (217)782-2696 FAX: (217)782-1062. Operational and Maintenance Log; Building:; Month:; Year:. Steam Heating Boilers; Address:; Fuel Type:. Person(s) to be Notified in Emergency (Name and Telephone No.); Illinois No.:. CHECKS (Enter Date). 1; 2; 3; 4; 5; 6; 7; 8; 9; 10; 11; 12; 13; 14; 15; 16; 17; 18; 19; 20; 21; 22; 23; 24; 25; 26; 27; 28; 29; 30; 31. (1) Observe Water Level. (2) Record Pressure.. (3) Record Flue Gas Temp.. CHECKS (Enter Date). (1) Test Low Water Cutoff; WEEK 1; WEEK 2; WEEK 3; WEEK 4. (2) Test Gage Glass. (3) Observe Flame Condition. CHECKS (Enter Date). (1) Manual Lift Safety Valve. (A) Linkages; (F) Floor Drains. (B) Damper Controls; (G) Flame Detection Device. (2) Review Condition of; (C) Stop Valves; (H) Limit Controls. or Test Each Item; (D) Refractory; (I) Operating Controls. (E) Flue-Chimney Breeching. (3) Inspect Fuel Piping. (4) Combustion Air Adequate/Unobstructed. General Comments:.

(Source:  Added at 23 Ill. Reg. 162, effective January 1, 1999)